## Slide 1
AI • SMART GRID • SUSTAINABILITY
ENERGYNEX
The AI Brain for a Smarter Grid
Grid Load Optimisation & Renewable Energy Performance Advisor
Powered by GridOpt AI Decision Support Engine
IBM Bob AI Innovation Hackathon • Challenge U2 + Master Challenge
PREDICT • DETECT • EXPLAIN • OPTIMISE • ACT
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Opening: EnergyNex is our AI decision-support platform for smarter grid operations. We convert energy telemetry into an explainable next action through forecasting, anomaly detection, root-cause analysis and optimisation.

## Slide 2
02 / 10
THE CHALLENGE
Clean Energy Is Being Wasted
Two grid problems collide: renewable curtailment and unpredictable demand stress.
~8 TWh
Clean energy curtailed annually*
+16%
Illustrative demand surge in our demo
3×
Operational blind spots
$ / ⚡
Wasted energy = lost value
01
PEAK SURGES
Sudden load spikes can stress feeders, transformers and system frequency.
PREDICT EARLY
02
RENEWABLE LOSS
Solar/wind assets can underperform without an obvious operational cause.
DETECT FAST
03
BLACK-BOX DECISIONS
Operators need evidence, not just alarms, before taking action.
EXPLAIN WHY
*Benchmark from the supplied project brief; validate the final source before public submission.
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Problem: operators face unpredictable demand spikes while renewable generation can be curtailed or underperform. The gap is predictive, explainable decision support. The ~8 TWh figure is from the supplied project brief and should be source-checked before public use.

## Slide 3
03 / 10
THE SOLUTION
One Decision Loop From Telemetry to Action
EnergyNex connects monitoring, prediction, anomaly detection, explainability and optimisation.
01
OBSERVE
Telemetry
02
PREDICT
Grid load
03
DETECT
Anomalies
04
EXPLAIN
Root cause
05
RECOMMEND
Best action
06
OPTIMISE
Shift load
07
REPORT
Executive brief
WHAT THE OPERATOR GETS
Real-time alerts • evidence-backed recommendations • flexible-load work orders • curtailment absorption plans
From raw energy data → a prioritized next action.
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Solution: EnergyNex follows a closed loop: observe, predict, detect, explain, recommend, optimise and report. The objective is an operator-ready next action, not another monitoring dashboard.

## Slide 4
04 / 10
ARCHITECTURE
Production-Style AI Decision Support Stack
Modular services keep data, intelligence, optimisation and interfaces independently testable.
DATA LAYER
Smart meters • Solar/Wind telemetry • Weather
kW • kWh • PF • V • irradiance • temperature • wind speed
AI ENGINE
RandomForestRegressor • IsolationForest • Feature attribution
Demand forecast • anomaly score • explainable root cause
OPTIMISATION
Flexible load shifting • Curtailment absorption
Constraints • priorities • feasible dispatch actions
INTERFACE
FastAPI :8000 • React :3000 • Streamlit :8501
Operator Control Center • Analytics Lab • Reports
GRIDOPT AI DECISION SUPPORT
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Architecture: telemetry feeds the AI engine. Random Forest forecasts demand, Isolation Forest detects unusual asset behavior, and feature attribution explains it. Optimisation turns insights into feasible load-shifting actions; React, FastAPI and Streamlit provide interfaces.

## Slide 5
05 / 10
MODULE 1 • PREDICT
See Grid Stress Before It Happens
Short-term Random Forest forecasting surfaces the next high-risk window.
10.15 GW
Predicted peak load
18:00
Peak window (UTC)
+16.0%
Surge vs 8.75 GW baseline
HIGH
Grid stress level
Chart: 
| 00 | 03 | 06 | 09 | 12 | 15 | 18 | 21 | 24
Forecast load (GW) | 7.2 | 7 | 7.4 | 8 | 8.5 | 9.1 | 10.15 | 9 | 7.8
OPERATOR PLAYBOOK
T−2h Pre-cool facilities
T−90m Defer flexible loads
T−30m Confirm feeder headroom
T−0 Execute dispatch plan
EARLY WARNING → EARLY ACTION
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Module 1: the demo predicts 10.15 GW at 18:00 UTC versus an 8.75 GW baseline, a 16% increase. Lead time allows pre-cooling, load deferral and dispatch preparation. These are supplied demo values.

## Slide 6
06 / 10
MODULE 2 • DETECT
Find Renewable Energy Loss Automatically
Isolation Forest flags unusual asset behavior without requiring a fully labeled failure dataset.
🔴 UNDERPERFORMING
Solar Farm A
SOLAR-A-001
120 MW
Expected output
94 MW
Actual output
−21.7%
Deviation from expected performance
ISOLATION FOREST PIPELINE
Telemetry
Power + weather
Expected
Performance baseline
IsolationForest
Outlier score
Alert
Asset flagged
Why unsupervised?
Rare failures are difficult to label at scale. Isolation Forest helps surface unusual combinations of telemetry.
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Module 2: Solar Farm A is expected at 120 MW but is producing 94 MW, a 21.7% deviation. Isolation Forest surfaces unusual telemetry patterns without needing exhaustive failure labels.

## Slide 7
07 / 10
MODULE 3 • EXPLAIN
Tell Operators WHY the Asset Is Underperforming
Feature attribution turns an anomaly score into a maintenance hypothesis.
SOLAR FARM A • FEATURE ATTRIBUTION
Low solar irradiance
52%
620 W/m² • localized cloud cover
Ambient temperature
23%
38°C • thermal derating
Inverter subgroup B
18%
Efficiency drop • throttling
Panel soiling
7%
Dust accumulation
ROOT CAUSE STORY
PRIMARY
Cloud cover
SECONDARY
Thermal + inverter
MAINTENANCE HYPOTHESIS
Check inverter subgroup B before dispatching a full-site crew.
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Module 3: feature attribution turns an alarm into a reasoned story. In this demo, irradiance contributes 52%, temperature 23%, inverter subgroup B 18%, and soiling 7%. Treat these as demonstration outputs unless backed by measured model results.

## Slide 8
08 / 10
MODULE 4 • OPTIMISE
Turn Wasted Renewable Power Into Useful Work
A constraint-aware plan absorbs clean energy while reducing grid stress.
CURTAILMENT SNAPSHOT
6.29 GW
available renewable
420 MW
curtailed clean power
71.4% REDUCTION
3-STEP AI ABSORPTION PLAN
01
SHIFT INDUSTRIAL LOAD
150 MW
Move flexible manufacturing into the solar window.
02
INCREASE RENEWABLE DISPATCH
80 MW
Use unconstrained feeder headroom.
03
RESCHEDULE EV CHARGING
70 MW
Stagger fleet charging to match availability.
300 MW
clean energy absorbed
120 MW
post-action curtailment
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Module 4: the supplied scenario starts with 420 MW curtailed. The plan shifts 150 MW industrial load, increases dispatch 80 MW and reschedules 70 MW EV charging, absorbing 300 MW and leaving 120 MW. The 71.4% reduction follows from those values.

## Slide 9
09 / 10
MODULE 5 • ACT
IBM Bob AI Copilot Turns Data Into Conversation
Ask the grid a question. Get evidence, explanation and an action plan.
● IBM BOB AI COPILOT
Why is today's demand high?
Why is Solar Farm A underperforming?
How can I reduce curtailment?
ANSWER
Peak risk is driven by the 18:00 load window.
Evidence → forecast curve + baseline comparison.
EXECUTIVE INTELLIGENCE
42.1 min
7-day SAIDI
0.68
7-day SAIFI
Weekly compliance brief
• Grid stress summary • Renewable asset exceptions • Curtailment actions • Downloadable .md brief
DATA-BACKED • ACTIONABLE • TRACEABLE
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Module 5: IBM Bob AI Copilot lets operators ask natural-language questions and receive evidence-backed explanations and actions. SAIDI and SAIFI shown are the supplied demo values, not measured utility performance unless validated.

## Slide 10
10 / 10
THE BUILD
Production-Quality Implementation
A hackathon-ready stack designed to prove the full decision-support workflow.
FRONTEND
React 18 Vite 5 TypeScript Tailwind CSS Leaflet • Recharts
BACKEND
Python FastAPI Uvicorn :8000
AI / ML
Scikit-learn Pandas NumPy Random Forest Isolation Forest
ANALYTICS
Streamlit :8501 Operator Lab
HACKATHON VERIFICATION
✓ CHALLENGE U2
✓ BUILD VERIFIED
✓ 7-PART PACK READY
✓ DEMO FLOW COMPLETE
ENERGYNEX DOESN'T JUST MONITOR THE GRID.
IT HELPS THE GRID DECIDE.
ENERGYNEX • GRIDOPT AI
IBM BOB AI INNOVATION HACKATHON
Notes: Close: the stack is React/Vite/TypeScript/Tailwind/Leaflet/Recharts, FastAPI/Uvicorn, scikit-learn/Pandas/NumPy and Streamlit. Final message: EnergyNex does not just monitor the grid; it helps the grid decide. Replace verification badges with evidence actually available in the final build.